## Slide 1
Introduction and Basic Laws
of
Electrical Engineering
Presented by
Md. Feroz Ali
Assistant Professor
Dept. of Electrical and Electronic Engineering (EEE)
Pabna University of Science and Technology (PUST)

## Slide 2: Introduction
An electric circuit is an interconnection of electrical elements that make a close path.

## Slide 3: Charge and current

## Slide 4: DC and AC

## Slide 5: Voltage, Power and Energy

## Slide 6: Independent Source

## Slide 7: Dependent Source

## Slide 8: OHM’S LAW

## Slide 9: Resistance

## Slide 10: Short circuit and Open circuit

## Slide 11: i-v characteristic of Ohm’s law

## Slide 12: Conductance and power dissipated by a resistor

## Slide 14: NODES, BRANCHES, AND LOOPS

## Slide 15: Series and Parallel connection

## Slide 16: KIRCHHOFF’S CURRENT LAWS (KCL)

## Slide 17: KIRCHHOFF’S VOLTAGE LAWS (KVL)

## Slide 20: SERIES RESISTORS AND VOLTAGE DIVISION
Voltage divider rules

## Slide 21: PARALLEL RESISTORS AND CURRENT DIVISION
Current divider rule

## Slide 23
Rab= 11.2 Ω

## Slide 24
Rab= 11 Ω

## Slide 25
Geq= 10 S

## Slide 27
io=1.33 Amp; Vo=4 V P0=5.33 W

## Slide 30: Applications

## Slide 31: WYE-DELTA TRANSFORMATIONS
Delta to Wye Conversion:

## Slide 32: WYE-DELTA TRANSFORMATIONS
Wye to Delta Conversion:

## Slide 36
Thanks to all